**Royal Observatory Cape of Good Hope – 1917**

* January – wet thermometer reading has x value on top of some of the values, written in purple.
* 10th of January – max thermometer reading (the max have entered the dry bulb reading as max for the day).
* 11th o January – max T booker and Sons 410 in use from this date.
* 5th and 6th of February – wind – clock stopped working 11 am
* 13th of March – 7h 44m CMT readings Barometer to wind are written in blue.
* 24th and 25th of March – clock stopped working.
* 31st of May – wind values clock stopped working.
* 30th of June – wind values clock stopped working
* 1st of July – wind values clock stopped working
* 26th of August – Min thermometer value is in red, for 0 h CMT
  + Min out of order
* 24th and 25th of December – wind values missing, clock stopped working