**Royal Observatory Cape of Good Hope – 1918**

* 13th of April – Barometer to wind values (7h 44m CMT) are missing.
* 24th and 25th of May – Max thermometer out of order, have from dry bulb.
* Minimum thermometer Nigretti and Zambra N° 1136 used from June 1st
* 25th of June – Dir wind 19h 44m CMT, Vane fouling wire.
* 22nd of July – snow on table mountain
* 17th and 18th of August – the wind values, the clock stopped working.